## NeuroWrite Dashboard Setup Guide

### System Requirements

- Windows 10/11

- Python 3.11 or later

- Internet connection (for package installation)

### Step 1: Install Python

Download and install Python from:

https://www.python.org/downloads/

During installation, ensure that the option "Add Python to PATH" is selected.

### Step 2: Extract Project Files

Extract the provided NeuroWrite_Tool ZIP folder to a convenient location.

### Step 3: Open Terminal

Navigate to the extracted NeuroWrite_Tool folder.

Example:

cd NeuroWrite_Tool

### Step 4: Install Required Libraries

Run:

pip install -r requirements.txt

### Step 5: Launch Dashboard

Run:

python -m streamlit run app.py

### Step 6: Access Dashboard

The browser will automatically open.

If not, visit:

http://localhost:8501

### Step 7: Analyze a Handwriting Sample

- Click "Upload CSV".

- Select the handwriting data file.

- Wait for processing.

- Review the extracted features, graphs, and screening results.

### Important Note

NeuroWrite is intended solely as an early screening and decision-support tool. The generated results do not constitute a medical diagnosis and should not replace professional clinical evaluation.